# Supplementary Table S1 — Explicit Definitions of All 69 Implemented Features

CyberRAX-CP: code-derived, individually enumerated feature dictionary for the implementation included with the reviewer artifact. Exact correspondence to all full-study reported runs requires the original run records.

Feature order is checked against data/processed/domain_feature_columns.json and feature_table_69.csv. Source code locations are linked by filename and line. Rolling statistics are causal, restart at each chronological split, and use a maximum of 30 observations. All input scaling is fitted on the training split.

## Code-derived feature counts and discrepancy with manuscript Table 4

The actual provided code generates 15 raw process/communication, 20 rolling, 20 network and 14 additional engineered features, totaling 69. Within the 14 engineered features there are 4 physical residual, 2 control, 2 protocol, 2 network normalization, 2 missingness and 2 operating-mode features. The manuscript grouping of 2 residual, 4 protocol, 2 control, 3 missingness and 3 operating-mode features differs. Also, code normalizes residuals by TRAIN-NORMAL standard deviation, whereas manuscript Eq. (7) uses a maximum-norm expression. Original data/code are required to resolve manuscript equivalence; this dictionary reports exactly what is executable in this ZIP.

| ID / column | Group / input signals | Exact calculation or encoding | Source and fitting scope |
| --- | --- | --- | --- |
| F01 pressure_in | raw process/communication pressure_in | Value of `pressure_in` at t after within-split forward fill then training-set-median fallback; StandardScaler train-only applied downstream | src/simulate.py:18; src/preprocess.py:75 Imputation training median; optional train-fitted StandardScaler |
| F02 pressure_mid | raw process/communication pressure_mid | Value of `pressure_mid` at t after within-split forward fill then training-set-median fallback; StandardScaler train-only applied downstream | src/simulate.py:18; src/preprocess.py:75 Imputation training median; optional train-fitted StandardScaler |
| F03 pressure_out | raw process/communication pressure_out | Value of `pressure_out` at t after within-split forward fill then training-set-median fallback; StandardScaler train-only applied downstream | src/simulate.py:18; src/preprocess.py:75 Imputation training median; optional train-fitted StandardScaler |
| F04 flow_main | raw process/communication flow_main | Value of `flow_main` at t after within-split forward fill then training-set-median fallback; StandardScaler train-only applied downstream | src/simulate.py:18; src/preprocess.py:75 Imputation training median; optional train-fitted StandardScaler |
| F05 flow_branch | raw process/communication flow_branch | Value of `flow_branch` at t after within-split forward fill then training-set-median fallback; StandardScaler train-only applied downstream | src/simulate.py:18; src/preprocess.py:75 Imputation training median; optional train-fitted StandardScaler |
| F06 valve_in | raw process/communication valve_in | Value of `valve_in` at t after within-split forward fill then training-set-median fallback; StandardScaler train-only applied downstream | src/simulate.py:19; src/preprocess.py:75 Imputation training median; optional train-fitted StandardScaler |
| F07 valve_out | raw process/communication valve_out | Value of `valve_out` at t after within-split forward fill then training-set-median fallback; StandardScaler train-only applied downstream | src/simulate.py:19; src/preprocess.py:75 Imputation training median; optional train-fitted StandardScaler |
| F08 compressor_state | raw process/communication compressor_state | Value of `compressor_state` at t after within-split forward fill then training-set-median fallback; StandardScaler train-only applied downstream | src/simulate.py:19; src/preprocess.py:75 Imputation training median; optional train-fitted StandardScaler |
| F09 temperature | raw process/communication temperature | Value of `temperature` at t after within-split forward fill then training-set-median fallback; StandardScaler train-only applied downstream | src/simulate.py:19; src/preprocess.py:75 Imputation training median; optional train-fitted StandardScaler |
| F10 demand | raw process/communication demand | Value of `demand` at t after within-split forward fill then training-set-median fallback; StandardScaler train-only applied downstream | src/simulate.py:19; src/preprocess.py:75 Imputation training median; optional train-fitted StandardScaler |
| F11 pressure_setpoint | raw process/communication pressure_setpoint | Value of `pressure_setpoint` at t after within-split forward fill then training-set-median fallback; StandardScaler train-only applied downstream | src/simulate.py:20; src/preprocess.py:75 Imputation training median; optional train-fitted StandardScaler |
| F12 control_command | raw process/communication control_command | Value of `control_command` at t after within-split forward fill then training-set-median fallback; StandardScaler train-only applied downstream | src/simulate.py:20; src/preprocess.py:75 Imputation training median; optional train-fitted StandardScaler |
| F13 modbus_function_code | raw process/communication modbus_function_code | Value of `modbus_function_code` at t after within-split forward fill then training-set-median fallback; StandardScaler train-only applied downstream | src/simulate.py:20; src/preprocess.py:75 Imputation training median; optional train-fitted StandardScaler |
| F14 device_id | raw process/communication device_id | Value of `device_id` at t after within-split forward fill then training-set-median fallback; StandardScaler train-only applied downstream | src/simulate.py:20; src/preprocess.py:75 Imputation training median; optional train-fitted StandardScaler |
| F15 communication_delay_ms | raw process/communication communication_delay_ms | Value of `communication_delay_ms` at t after within-split forward fill then training-set-median fallback; StandardScaler train-only applied downstream | src/simulate.py:21; src/preprocess.py:75 Imputation training median; optional train-fitted StandardScaler |
| F16 pressure_in_rolling_mean | causal rolling statistics pressure_in | arithmetic mean of the most recent up to 30 within-split, forward-filled `pressure_in` values through t; min_periods=1 | src/preprocess.py:42–48 No fitted rolling stats; standardized with train-only scaler downstream |
| F17 pressure_in_rolling_std | causal rolling statistics pressure_in | population standard deviation (ddof=0) of the most recent up to 30 within-split, forward-filled `pressure_in` values through t; min_periods=1 | src/preprocess.py:42–48 No fitted rolling stats; standardized with train-only scaler downstream |
| F18 pressure_mid_rolling_mean | causal rolling statistics pressure_mid | arithmetic mean of the most recent up to 30 within-split, forward-filled `pressure_mid` values through t; min_periods=1 | src/preprocess.py:42–48 No fitted rolling stats; standardized with train-only scaler downstream |
| F19 pressure_mid_rolling_std | causal rolling statistics pressure_mid | population standard deviation (ddof=0) of the most recent up to 30 within-split, forward-filled `pressure_mid` values through t; min_periods=1 | src/preprocess.py:42–48 No fitted rolling stats; standardized with train-only scaler downstream |
| F20 pressure_out_rolling_mean | causal rolling statistics pressure_out | arithmetic mean of the most recent up to 30 within-split, forward-filled `pressure_out` values through t; min_periods=1 | src/preprocess.py:42–48 No fitted rolling stats; standardized with train-only scaler downstream |
| F21 pressure_out_rolling_std | causal rolling statistics pressure_out | population standard deviation (ddof=0) of the most recent up to 30 within-split, forward-filled `pressure_out` values through t; min_periods=1 | src/preprocess.py:42–48 No fitted rolling stats; standardized with train-only scaler downstream |
| F22 flow_main_rolling_mean | causal rolling statistics flow_main | arithmetic mean of the most recent up to 30 within-split, forward-filled `flow_main` values through t; min_periods=1 | src/preprocess.py:42–48 No fitted rolling stats; standardized with train-only scaler downstream |
| F23 flow_main_rolling_std | causal rolling statistics flow_main | population standard deviation (ddof=0) of the most recent up to 30 within-split, forward-filled `flow_main` values through t; min_periods=1 | src/preprocess.py:42–48 No fitted rolling stats; standardized with train-only scaler downstream |
| F24 flow_branch_rolling_mean | causal rolling statistics flow_branch | arithmetic mean of the most recent up to 30 within-split, forward-filled `flow_branch` values through t; min_periods=1 | src/preprocess.py:42–48 No fitted rolling stats; standardized with train-only scaler downstream |
| F25 flow_branch_rolling_std | causal rolling statistics flow_branch | population standard deviation (ddof=0) of the most recent up to 30 within-split, forward-filled `flow_branch` values through t; min_periods=1 | src/preprocess.py:42–48 No fitted rolling stats; standardized with train-only scaler downstream |
| F26 valve_in_rolling_mean | causal rolling statistics valve_in | arithmetic mean of the most recent up to 30 within-split, forward-filled `valve_in` values through t; min_periods=1 | src/preprocess.py:42–48 No fitted rolling stats; standardized with train-only scaler downstream |
| F27 valve_in_rolling_std | causal rolling statistics valve_in | population standard deviation (ddof=0) of the most recent up to 30 within-split, forward-filled `valve_in` values through t; min_periods=1 | src/preprocess.py:42–48 No fitted rolling stats; standardized with train-only scaler downstream |
| F28 valve_out_rolling_mean | causal rolling statistics valve_out | arithmetic mean of the most recent up to 30 within-split, forward-filled `valve_out` values through t; min_periods=1 | src/preprocess.py:42–48 No fitted rolling stats; standardized with train-only scaler downstream |
| F29 valve_out_rolling_std | causal rolling statistics valve_out | population standard deviation (ddof=0) of the most recent up to 30 within-split, forward-filled `valve_out` values through t; min_periods=1 | src/preprocess.py:42–48 No fitted rolling stats; standardized with train-only scaler downstream |
| F30 temperature_rolling_mean | causal rolling statistics temperature | arithmetic mean of the most recent up to 30 within-split, forward-filled `temperature` values through t; min_periods=1 | src/preprocess.py:42–48 No fitted rolling stats; standardized with train-only scaler downstream |
| F31 temperature_rolling_std | causal rolling statistics temperature | population standard deviation (ddof=0) of the most recent up to 30 within-split, forward-filled `temperature` values through t; min_periods=1 | src/preprocess.py:42–48 No fitted rolling stats; standardized with train-only scaler downstream |
| F32 demand_rolling_mean | causal rolling statistics demand | arithmetic mean of the most recent up to 30 within-split, forward-filled `demand` values through t; min_periods=1 | src/preprocess.py:42–48 No fitted rolling stats; standardized with train-only scaler downstream |
| F33 demand_rolling_std | causal rolling statistics demand | population standard deviation (ddof=0) of the most recent up to 30 within-split, forward-filled `demand` values through t; min_periods=1 | src/preprocess.py:42–48 No fitted rolling stats; standardized with train-only scaler downstream |
| F34 communication_delay_ms_rolling_mean | causal rolling statistics communication_delay_ms | arithmetic mean of the most recent up to 30 within-split, forward-filled `communication_delay_ms` values through t; min_periods=1 | src/preprocess.py:42–48 No fitted rolling stats; standardized with train-only scaler downstream |
| F35 communication_delay_ms_rolling_std | causal rolling statistics communication_delay_ms | population standard deviation (ddof=0) of the most recent up to 30 within-split, forward-filled `communication_delay_ms` values through t; min_periods=1 | src/preprocess.py:42–48 No fitted rolling stats; standardized with train-only scaler downstream |
| F36 packet_rate | raw network packet_rate | Value of `packet_rate` at t after within-split forward fill then training-set-median fallback; StandardScaler train-only applied downstream | src/simulate.py:24; src/preprocess.py:77 Training-set median and downstream train-only scaling |
| F37 packet_size_bytes | raw network packet_size_bytes | Value of `packet_size_bytes` at t after within-split forward fill then training-set-median fallback; StandardScaler train-only applied downstream | src/simulate.py:24; src/preprocess.py:77 Training-set median and downstream train-only scaling |
| F38 interarrival_jitter_ms | raw network interarrival_jitter_ms | Value of `interarrival_jitter_ms` at t after within-split forward fill then training-set-median fallback; StandardScaler train-only applied downstream | src/simulate.py:24; src/preprocess.py:77 Training-set median and downstream train-only scaling |
| F39 retry_count | raw network retry_count | Value of `retry_count` at t after within-split forward fill then training-set-median fallback; StandardScaler train-only applied downstream | src/simulate.py:24; src/preprocess.py:77 Training-set median and downstream train-only scaling |
| F40 tcp_syn_rate | raw network tcp_syn_rate | Value of `tcp_syn_rate` at t after within-split forward fill then training-set-median fallback; StandardScaler train-only applied downstream | src/simulate.py:25; src/preprocess.py:77 Training-set median and downstream train-only scaling |
| F41 read_write_ratio | raw network read_write_ratio | Value of `read_write_ratio` at t after within-split forward fill then training-set-median fallback; StandardScaler train-only applied downstream | src/simulate.py:25; src/preprocess.py:77 Training-set median and downstream train-only scaling |
| F42 response_time_ms | raw network response_time_ms | Value of `response_time_ms` at t after within-split forward fill then training-set-median fallback; StandardScaler train-only applied downstream | src/simulate.py:25; src/preprocess.py:77 Training-set median and downstream train-only scaling |
| F43 request_count | raw network request_count | Value of `request_count` at t after within-split forward fill then training-set-median fallback; StandardScaler train-only applied downstream | src/simulate.py:25; src/preprocess.py:77 Training-set median and downstream train-only scaling |
| F44 response_count | raw network response_count | Value of `response_count` at t after within-split forward fill then training-set-median fallback; StandardScaler train-only applied downstream | src/simulate.py:26; src/preprocess.py:77 Training-set median and downstream train-only scaling |
| F45 error_response_rate | raw network error_response_rate | Value of `error_response_rate` at t after within-split forward fill then training-set-median fallback; StandardScaler train-only applied downstream | src/simulate.py:26; src/preprocess.py:77 Training-set median and downstream train-only scaling |
| F46 address_diversity | raw network address_diversity | Value of `address_diversity` at t after within-split forward fill then training-set-median fallback; StandardScaler train-only applied downstream | src/simulate.py:26; src/preprocess.py:77 Training-set median and downstream train-only scaling |
| F47 connection_reset_rate | raw network connection_reset_rate | Value of `connection_reset_rate` at t after within-split forward fill then training-set-median fallback; StandardScaler train-only applied downstream | src/simulate.py:27; src/preprocess.py:77 Training-set median and downstream train-only scaling |
| F48 modbus_exception_rate | raw network modbus_exception_rate | Value of `modbus_exception_rate` at t after within-split forward fill then training-set-median fallback; StandardScaler train-only applied downstream | src/simulate.py:27; src/preprocess.py:77 Training-set median and downstream train-only scaling |
| F49 command_burst_rate | raw network command_burst_rate | Value of `command_burst_rate` at t after within-split forward fill then training-set-median fallback; StandardScaler train-only applied downstream | src/simulate.py:27; src/preprocess.py:77 Training-set median and downstream train-only scaling |
| F50 network_load | raw network network_load | Value of `network_load` at t after within-split forward fill then training-set-median fallback; StandardScaler train-only applied downstream | src/simulate.py:28; src/preprocess.py:77 Training-set median and downstream train-only scaling |
| F51 response_missing_rate | raw network response_missing_rate | Value of `response_missing_rate` at t after within-split forward fill then training-set-median fallback; StandardScaler train-only applied downstream | src/simulate.py:28; src/preprocess.py:77 Training-set median and downstream train-only scaling |
| F52 protocol_entropy | raw network protocol_entropy | Value of `protocol_entropy` at t after within-split forward fill then training-set-median fallback; StandardScaler train-only applied downstream | src/simulate.py:28; src/preprocess.py:77 Training-set median and downstream train-only scaling |
| F53 source_ip_count | raw network source_ip_count | Value of `source_ip_count` at t after within-split forward fill then training-set-median fallback; StandardScaler train-only applied downstream | src/simulate.py:28; src/preprocess.py:77 Training-set median and downstream train-only scaling |
| F54 destination_port_diversity | raw network destination_port_diversity | Value of `destination_port_diversity` at t after within-split forward fill then training-set-median fallback; StandardScaler train-only applied downstream | src/simulate.py:29; src/preprocess.py:77 Training-set median and downstream train-only scaling |
| F55 session_duration_s | raw network session_duration_s | Value of `session_duration_s` at t after within-split forward fill then training-set-median fallback; StandardScaler train-only applied downstream | src/simulate.py:29; src/preprocess.py:77 Training-set median and downstream train-only scaling |
| F56 pressure_residual | physical residual pressure_mid, pressure_in, flow_main, valve_in, pressure_setpoint, demand, valve_out, compressor_state | pressure_mid - Ridge_pressure.predict([pressure_in,flow_main,valve_in,pressure_setpoint,demand,valve_out,compressor_state]); Ridge fitted on TRAIN-NORMAL only | src/preprocess.py:85 Ridge(alpha=1.0) fitted on training rows labeled normal |
| F57 flow_residual | physical residual flow_branch, pressure_mid, pressure_out, flow_main, valve_out, demand, compressor_state | flow_branch - Ridge_flow.predict([pressure_mid,pressure_out,flow_main,valve_out,demand,compressor_state]); Ridge fitted on TRAIN-NORMAL only | src/preprocess.py:86 Ridge(alpha=1.0) fitted on training rows labeled normal |
| F58 pressure_residual_norm | physical residual pressure_residual | pressure_residual / max(population_std(pressure residual on TRAIN-NORMAL),1e-6) | src/preprocess.py:87 Residual scale fitted on train-normal only; does NOT use maximum norm in manuscript Eq. (7) |
| F59 flow_residual_norm | physical residual flow_residual | flow_residual / max(population_std(flow residual on TRAIN-NORMAL),1e-6) | src/preprocess.py:88 Residual scale fitted on train-normal only |
| F60 command_response_mismatch | control consistency control_command, valve_out | abs(control_command - valve_out) | src/preprocess.py:89 No model fitting; after numeric imputation |
| F61 command_transition_rate | control consistency control_command | rolling_mean(abs(control_command[t] - control_command[t-1]), window=30, min_periods=1) within each split; first diff NaN becomes 0 | src/preprocess.py:90 Causal within-split window; despite "rate" label, average absolute step change |
| F62 function_code_transition_rate | protocol/command modbus_function_code | 1 if modbus_function_code[t] != modbus_function_code[t-1] else 0; first within-split difference=0 | src/preprocess.py:91 Current-row binary indicator, NOT a rolling transition rate |
| F63 device_change_flag | protocol/command device_id | 1 if device_id[t] != device_id[t-1] else 0; first within-split difference=0 | src/preprocess.py:92 Current-row binary indicator |
| F64 delay_zscore | network normalized communication_delay_ms | (communication_delay_ms - mean_delay_train_normal) / max(sd_delay_train_normal,1e-6) | src/preprocess.py:93 Train-normal baseline only, population SD ddof=0 |
| F65 packet_rate_zscore | network normalized packet_rate | (packet_rate - mean_packets_train_normal) / max(sd_packets_train_normal,1e-6) | src/preprocess.py:94 Train-normal baseline only, population SD ddof=0 |
| F66 missing_pressure_flag | missingness pressure_in, pressure_mid, pressure_out | 1 if ANY original raw pressure_in, pressure_mid, pressure_out is NaN before imputation; else 0 | src/preprocess.py:95 Missingness computed before numeric imputation |
| F67 missing_flow_flag | missingness flow_main, flow_branch | 1 if ANY original raw flow_main, flow_branch is NaN before imputation; else 0 | src/preprocess.py:96 Missingness computed before numeric imputation |
| F68 high_load_mode | operating mode mode | 1 if mode == "high_load", else 0 | src/preprocess.py:97 Normal mode is represented by both binary indicators being 0 |
| F69 maintenance_mode | operating mode mode | 1 if mode == "maintenance", else 0 | src/preprocess.py:98 Normal mode is represented by both binary indicators being 0 |